[FORM – V]

(See rule 14)

Environmental Statement of NUMALIGARH REFINERY LIMITED

for the financial year – 2016-17

PART – A

- Name and address of the owner/occupier:  	               Numaligarh Refinery Limited

of the industry operation or  process.		  P.O. Numaligarh Refinery Project

Golaghat -785699, Assam

Co-ordination Office:				  Tolstoy House, 6th Floor

15-17 Tolstoy Marg

New Delhi-110001

Registered Office :					  122A , G.S.Road

Christianbasti

Guwahati-781005

- Industry category  Primary ----(STC code) 	            : Primary

Secondary-----(SIC Code)

- Production capacity (Crude T’put)		            : 3.0 MMTPA

- Year of establishment			            : 22nd April ,1993

- Date of the last environmental statement submitted  : 8th Sept ,2016

# PART – B

## Water and River Material Consumption

- Water consumption m3/d:

Process		:			2468.00

Cooling		:			3798.80

Domestic		:			3308.50

Name of Products		: Process water consumption in m3 per MT of raw material

2015-16                          2016-17

Crude Oil				     0.402                             0.336

As all the products are obtained from the same raw material i.e Crude Oil, Process Water Consumption shown above has been indicated as M3 per MT of crude processed.

ii)	Raw Material Consumption

Raw material: Crude Oil

2015-16	       2016-17

T’put during the year (in MT)			   2518767.00          2683127

(Design Capacity:  3.0 MMTPA)

PART - C

### Pollution discharged to environment/unit of output (Parameter as specified in the consent issued)

- a)Water(2016-17):

| Pollutants | CPCB Std (mg/l | Concen. of pollutants in discharges(avg) (mg/l) | Quantity of pollutants discharged (kg/yr,exc pH) | Qnty of pollutants in kg/1000 MT of Crude STD( mg/l) Actual(mg/l) |  | Percentage of variation from STD. with reasons |
| --- | --- | --- | --- | --- | --- | --- |
| pH | 6-85 | 6.8 | - | - |  | All parameters are within prescribed standards |
| Oil & G | 5.0 | 2.9 | 2818.12 | 2.0 | 1.073 |  |
| TSS | 20 | 11.53 | 11204.46 | 8.0 | 4.18 |  |
| Phenol | 0.35 | 0.2 | 194.35 | 0.14 | 0.072 |  |
| Sulphide | 0.5 | <0.1 | 97.0 | 0.2 | 0.036 |  |
| COD | 125 | 62.0 | 60249.49 | 50 | 22.45 |  |
| BOD3 | 15 | 8.7 | 8454.36 | 6.0 | 3.15 |  |
| CN | <0.02 | <0.02 | 19.43 | 0.08 | 0.007 |  |
| Ammonia as N | 15 | 1.86 | 1807.48 | 6.0 | 0.67 |  |
| TKN | 40 | 12.63 | 12273.4 | 16.0 | 4.5 |  |
| P | 3.0 | 1.63 | 1583.97 | 1.2 | 0.59 |  |
| Cr (Hext.) | 0.1 | Nil | Nil | 0.04 | 0.00 |  |
| Cr (Total) | 2.0 | 0.035 | 34.00 | 0.8 | 0.012 |  |
| Pb | 0.1 | 0.023 | 22.35 | 0.04 | 0.008 |  |
| Hg | 0.01 | 0.00 | 0.00 | 0.004 | 0.000 |  |
| Zn | 5.0 | 0.049 | 47.61 | 2.0 | 0.0177 |  |
| Ni | 1.0 | 0.043 | 41.7 | 0.4 | 0.0155 |  |
| Cu | 1.0 | 0.038 | 36.9 | 0.4 | 0.0137 |  |
| V | 0.2 | 0.00 | 0.0 | 0.8 | 0.0 |  |
| Benzene | 0.1 | 0.0128 | 12.43 | 0.04 | 0.0046 |  |
| Benzo(a)-Pyrene | 0.2 | 0.0016 | 1.55 | 0.08 | 0.0005 |  |

(b)  AIR:

Average Sulphur Dioxide emission from the refinery during (2016-17):

| SO2 Emission , Kg/hr As per NOC of PCB, Assam max. allowable limit is 250 kg/hr as SO2 | During April’16 to Mar’2017 |
| --- | --- |
|  | 98.28 kg/hr |

AMBIENT AIR QUALITY(2016-17)

Period:    From April, 2016 to March, 2017

| Station | Parameter | STD NAAQS-2009 |  |  | Unit | Observation (In Microgram Per Cubic Meter) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Maximum |  | Minimum | Annual Arithmetic mean |
| REFINERY (WATCH TOWER NO. 6) | SO2 | 80 (24 hr avg.) 50 (Annual) |  |  | μg/m3 | 11.50 |  | 4.00 | 9.60 |
|  | NO2 | 80 (24 hr avg.) 40(Annual) |  |  | μg/m3 | 43.50 |  | 11.50 | 22.80 |
|  | O3 | 100 (8 hr avg.) |  |  | μg/m3 | 36.50 |  | 10.00 | 23.45 |
|  | CO | 2.0 (8 hr.avg.) |  |  | mg/m3 | 1.180 |  | 0.180 | 0.550 |
|  | NH3 | 400(24 hr.avg.) 100(Annual) |  |  | μg/m3 | 28.7 |  | 10.0 | 14.78 |
|  | PM 10 | 100(24 hr.avg.) 60(24 hrs) |  |  | μg/m3 | 88.0 |  | 28.0 | 63.10 |
|  | PM 2.5 | 60 (24 hr.avg.) 40(annual) |  |  | μg/m3 | 50.0 |  | 14.0 | 33.30 |
|  | Benzene | 5.0 (Annual) |  |  | μg/m3 | 3.88 |  | 2.08 | 2.32 |
|  | BaP | 1.0 (Annual) |  |  | ng/m3 | 0.95 |  | 0.40 | 0.53 |
|  | Pb | 1.0 (24 hr.avg.) 0.5( Annual) |  |  | μg/m3 | 0.08 |  | 0.02 | 0.09 |
|  | As | 6.0 (Annual) |  |  | ng/m3 | 3.02 |  | 1.00 | 1.290 |
|  | Ni | 20 (Annual) |  |  | ng/m3 | 14.20 |  | 4.00 | 6.33 |
| ECO-PARK IN NRL TOWNSHIP | SO2 | 80 (24 hr avg.) 50 (Annual) |  |  | μg/m3 | 7.60 |  | 4.00 | 7.10 |
|  | NO2 | 80 (24 hr avg.) 40(Annual) |  |  | μg/m3 | 34.20 |  | 10.20 | 25.28 |
|  | O3 | 100 (8 hr avg.) |  |  | μg/m3 | 32.5 |  | 10.6 | 21.7 |
|  | CO | 2.0 (8 hr.avg.) |  |  | mg/m3 | 0.740 |  | 0.130 | 0.350 |
|  | NH3 | 400(24 hr.avg.) 100(Annual) |  |  | μg/m3 | 20.3 |  | 8.00 | 11.73 |
|  | PM 10 | 100(24 hr.avg.) 60(24 hrs) |  |  | μg/m3 | 71.0 |  | 24.0 | 52.75 |
|  | PM 2.5 | 60 (24 hr.avg.) 40(annual) |  |  | μg/m3 | 42.0 |  | 11.0 | 26.15 |
|  | Benzene | 5.0 (Annual) |  |  | μg/m3 | 2.18 |  | BDL | 2.085 |
|  | BaP | 1.0 (Annual) |  |  | ng/m3 | 0.63 |  | BDL | 0.41 |
|  | Pb | 1.0(24 hr.avg.) 0.5( Annual) |  |  | μg/m3 | 0.08 |  | BDL | 0.02 |
|  | As | 6.0 (Annual) |  |  | ng/m3 | 1.18 |  | BDL | 1.00 |
|  | Ni | 20 (Annual) |  |  | ng/m3 | 8.54 |  | 4.00 | 5.178 |
| RAW WATER INTAKE. | SO2 |  | 80 (24 hr avg.) 50 (Annual) | μg/m3 |  |  | 6.70 | 4.00 | 4.90 |
|  | NO2 |  | 80 (24 hr avg.) 40(Annual) | μg/m3 |  |  | 30.20 | 10.00 | 18.60 |
|  | O3 |  | 100 (8 hr avg.) | μg/m3 |  |  | 27.4 | 4.5 | 20.00 |
|  | CO |  | 2.0 (8 hr.avg.) | mg/m3 |  |  | 0.720 | 0.110 | 0.315 |
|  | NH3 |  | 400(24 hr.avg.) 100(Annual) | μg/m3 |  |  | 21.6 | 10.00 | 11.28 |
|  | PM 10 |  | 100(24 hr.avg.) 60(24 hrs) | μg/m3 |  |  | 68.0 | 11.0 | 23.15 |
|  | PM 2.5 |  | 60 (24 hr.avg.) 40(annual) | μg/m3 |  |  | 38.0 | 9.2 | 21.77 |
|  | Benzene |  | 5.0 (Annual) | μg/m3 |  |  | 2.08 | 2.08 | 2.08 |
|  | BaP |  | 1.0 (Annual) | ng/m3 |  |  | 0.40 | 0.40 | 0.40 |
|  | Pb |  | 1.0(24 hr.avg.) 0.5( Annual) | μg/m3 |  |  | 0.02 | 0.02 | 0.02 |
|  | As |  | 6.0 (Annual) | ng/m3 |  |  | 1.00 | 1.00 | 1.00 |
|  | Ni |  | 20 (Annual) | ng/m3 |  |  | 10.20 | BDL | 4.76 |
| NH-39 BYPASS | SO2 |  | 80 (24 hr.avg.) 50 (Annual) | μg/m3 |  |  | 9.8 | 4.0 | 5.8 |
|  | NO2 |  | 80 (24 hr avg.) 40(Annual) | μg/m3 |  |  | 40.2 | 12.2 | 23.20 |
|  | O3 |  | 100 (8 hr avg.) | μg/m3 |  |  | 32.4 | 10.0 | 21.95 |
|  | CO |  | 2.0 (8 hr.avg.) | mg/m3 |  |  | 0.950 | 0.120 | 0.459 |
|  | NH3 |  | 400 (24 hr.avg.) 100(Annual) | μg/m3 |  |  | 28.0 | 10.0 | 13.13 |
|  | PM 10 |  | 100 (24 hr.avg.) 60(24 hrs) | μg/m3 |  |  | 82.0 | 26.0 | 57.43 |
|  | PM 2.5 |  | 60 (24 hr.avg.) 40(annual) | μg/m3 |  |  | 48.0 | 14.0 | 29.8 |
|  | Benzene |  | 5.0 (Annual) | μg/m3 |  |  | 3.21 | 2.08 | 2.08 |
|  | BaP |  | 1.0 (Annual) | ng/m3 |  |  | 0.98 | 0.40 | 0.42 |
|  | Pb |  | 1.0(24 hr.avg.) 0.5( Annual) | μg/m3 |  |  | 0.05 | 0.02 | 0.12 |
|  | As |  | 6.0 (Annual) | ng/m3 |  |  | 2.00 | 1.00 | 1.10 |
|  | Ni |  | 20 (Annual) | ng/m3 |  |  | 10.20 | 4.00 | 5.39 |
| KAZIRANGA WILDLIFE SANCTUARY AT AGARTOLI | SO2 |  | 80 (24 hr.avg.) 50 (Annual) | μg/m3 |  | 6.2 |  | 4.00 | 4.7 |
|  | NO2 |  | 80 (24 hr.avg.) 40(Annual) | μg/m3 |  | 28.7 |  | 9.6 | 16.80 |
|  | O3 |  | 100 (8 hr avg.) | μg/m3 |  | 23.5 |  | 10.00 | 58.1 |
|  | CO |  | 2.0 (8 hr.avg.) | mg/m3 |  | 0.420 |  | 0.080 | 0.232 |
|  | NH3 |  | 400 (24 hr.avg.) 100(Annual) | μg/m3 |  | 15.50 |  | 7.00 | 10.27 |
|  | PM 10 |  | 100(24 hr.avg.) 60(24 hrs) | μg/m3 |  | 59.0 |  | 20.0 | 36.28 |
|  | PM 2.5 |  | 60 (24 hr.avg.) 40(annual) | μg/m3 |  | 32.0 |  | 10.0 | 18.9 |
|  | Benzene |  | 5.0 (Annual) | μg/m3 |  | 2.08 |  | 2.08 | 2.08 |
|  | BaP |  | 1.0 (Annual) | ng/m3 |  | 0.04 |  | 0.40 | 0.40 |
|  | Pb |  | 1.0(24 hr.avg.) 0.5( Annual) | μg/m3 |  | 0.02 |  | 0.02 | 0.02 |
|  | As |  | 6.0 (Annual) | ng/m3 |  | 1.00 |  | 1.00 | 1.00 |
|  | Ni |  | 20 (Annual) | ng/m3 |  | 5.60 |  | 4.00 | 4.01 |

BDL: Below Detection Limit

# PART – D

# Hazardous Wastes

### (As specified under Hazardous Waste Management and Handling Rules, 1989)

| Hazardous Wastes(Generated/disposed) | Total Quantity (In MT) |  |
| --- | --- | --- |
|  | ### During the previous Financial Year (15-16) | ### During the current Financial year (16-17) |
| - From Process - Spent Catalyst - Spent Adsorbents - Tank Bottom Waste/Sludge | Ceramic Ball : 5.669 MT Platinum : 7.00 MT Zeolite based Cracking catalyst : 4.900 MT Spent Adsorbents : 9.839 Nil | 378.0 MT (HCU & MSP) ( Sold to CPCB recognized Vendor) Nil 450 MT ( ETP Tk Bottom sludge) 450MT (101B Crude Tk Bottom sludge) |
| - From Pollution Control Facilities - Chemical & Oily Sludge | 30.0 MT ( disposed off in the SLF) | 29.0 MT ( disposed off in the SLF) |

- NB:

- 1)  Around  378 MT  Spent catalyst have been sold during  2016-17 to M/s  Refracast Metallurgical

- Pvt Lt  a CBCB  recognized  Vendor

- 2) Out  of  700 0 MT ( accumulated) sludge  already  sold ,  104.0 MT  has  been lifted by  a CPCB

- recognized Vendor

- 3) 500 MT  Tk  bottom  sludge has been Bioremediated.

- Part – E

- Solid   Wastes

| Solid Wastes generated /disposed | Total Quantity ( in M3) |  |
| --- | --- | --- |
|  | During the previous financial year(2015-16) | During the current financial year(16-17) |
| - From Process Generation of Incinerable substances - From pollution control facilities Generation of Bio sludge at ETP (C) (1) Quantity recycled or reutilized within the unit - Sold - Disposal Incinerable substances Bio sludge | 1200m3 170.44MT Nil Nil 1200m3 (disposed through’ incineration Out of 170.44MT , portion used in Garden as manure and portion dumped at SLF | 1500m3 184.34MT Nil Nil 1500m3 (disposed through’ incineration Out of 184.34MT , portion used in Garden as manure and portion dumped at SLF |

Part – F

Please specify the characteristics (in terms of concentration and quantum) of hazardous as well as solid waste and indicate disposal practice adopted for both these categories of wastes.

A typical laboratory analysis of the Oily Sludge is as follows:

| Date of result | SAMPLE SOURCE | PARAMETERS | RESULTS %,wt |
| --- | --- | --- | --- |
| 17.11.16 | ETP , CHEMICAL & OILY SLUDGE centrifuge ( From G-02) | Moisture Content | 86.118 |
|  |  | Oil Content | 3.12 |
|  |  | Organic & Volatile Matter | 4.12 |
|  |  | Iron | 2.32 |
|  |  | Ca | 0.03 |
|  |  | Magnesium | 0.04 |
|  |  | Sodium | 0.40 |
|  |  | SiO2 & Trace metals | 2.89 |
|  |  | Phenol | 0.002 |
|  |  | Sulphide | 0.42 |
|  |  | Chloride | 0.02 |
|  |  | Suplhate | 0.052 |

Disposal practice adopted for both categories of wastes:-

Numaligarh Refinery ,  popularly known as the “Accord Refinery” has been set up in the district of Golaghat, Assam as the  part of fulfillment of the commitment made by the Govt. of India in the historic Assam Accord for providing the thrust towards industrial and economic development of North-East.  Environment management initiatives of Numaligarh Refinery is guided by the principle of sustainable development and its corporate vision statement of committing itself to attain the excellence in environment management with a prime focus on management of environment.  In its quest for environmental excellence and continual improvement, NRL has been pursuing a focused programme towards environment protection through well defined objectives and has taken up several initiatives that has been implemented in well defined and systematic manner.  NRL being an energy efficient & environment friendly refinery,  committed to control of all kinds of pollution & protection of natural environment.

- Numaligarh Refinery was conceptualized as one of the most Environment friendly Refinery in the country. Right from its inception, conscious efforts have been taken at every stage to preserve the environment and to attain the excellency   in Environment Management. A fully functional "Environment Cell" is continuously working for improvement,  monitoring, safe-guarding and reporting of environmental activities.

- A  proper solid waste management  procedure is in place at  Numaligarh Refinery to deal with storage / disposal of  the solid wastes (hazardous /non hazardous )  generated due to operation of  refinery.  As a part of  the operation of the  refinery,  some amount of solid wastes are generated , to manage, deal with the same, an environment friendly & proper solid waste management system has been prepared.  Considering the activities related to waste management,  NRL Management  has delineated a solid waste management plan with the following objective -

1.	To protect human health  and  natural  environment from the hazards posed by waste disposal.

2.	To conserve energy and natural resources through waste recycling and recovery.

3.	To reduce /eliminate, as far as possible,the generation of solid wastes including  hazardous wastes.

4.	To ensure proper management of solid wastes which protect the human health

and the environment.

In-built measures had been adopted to minimize, control pollution and generation of waste in all the units with proper collection and disposal system. Adequate segregation, collection and treatment facilities for wastewater for centralized treatment has been provided to meet the stringent standards laid down in the latest MoEF Notification. An environmentally compatible management system for disposal of the ETP hazardous wastes  i.e. Chemical & Oily sludge through Secure Land Fill has been developed inside the refinery premises . Types of Hazardous solid waste like – Chemical & Oily sludge which is generated at different sections of Effluent Treatment Plant (ETP) are collected in a sludge thickener through sludge collection system . From the thickener,   floating oil with water is recycled back to the Inlet Receiving Sump (IRS) of ETP for further processing and oil recovery. The thickened sludge from the bottom of the thickener is taken to the centrifuge feed sump for feeding to the Chemical & Oily centrifuge for recovering the absorbed  oil from it.   By using the specially designed centrifuge for the purpose, almost total  oil is recovered from the sludge and is recycled to the slop oil system for reprocessing.   The oil free cake from the centrifuge was disposed off in the Secured Land Fill (SLF). Tank bottom sludge generally sold to CPCB/PCBA recognized Vendor , otherwise  disposed off  through  Bio-remediation process.  To cater the needs of future requirement,  a new Secured Land Fill with a capacity of 600m3 has been constructed inside the Refinery Premises which now ready for use.

Non –hazardous solid waste generated in the Refinery are incinerable waste, non-incinerable but reusable waste and bio - degradable waste etc.  After collecting the wastes from the various sources viz. process area, various units , admin office and other locations,  wastes  are segregated and kept in demarcated locations in the Solid waste disposal yard. Waste like-  paper, hard boards  and cartons are incinerated through incineration process and non hazardous bio- degradable wastes are disposed off at low laying areas within the refinery premises itself.

Part –G

Impact of the pollution abatement measures taken on conservation of natural resources and on the cost of production:-

Numaligarh Refinery Ltd ,  as a good Corporate Citizen,  from the very onset itself   has been pursuing a focused program towards environment management by formulating a comprehensive policy towards its commitment for the protection, preservation and development of the environment. Numaligarh Refinery was conceptualized as one of the most Environment friendly and Energy efficient Refinery in the country. Right from its inception, conscious efforts have been taken at every stage to preserve the environment and to attain the Excellency in Environment Management.

As the higher fuel consumption directly contributes to the higher emission of the green house gases affecting natural ecological processes, energy conservation efforts have received continuous focus at NRL since conceptualization of the refinery. It has adopted state of the art energy efficient technology, high efficiency furnaces with glass air pre-heaters, installation of captive co-generation power plant using heat recovery system, maximization of waste heat recovery, installation and operation of power recovery turbine in the hydrocracker and other units etc.

NRL has adopted very advance and comprehensive steps towards controlling pollution.  Its corporate vision statement commits itself to attain the excellent in environment management.  From the very onset ,  selection of process of  technologies and equipment was done with special care for environmental protection.

Additionally, all the furnaces are provided with ultra  low NOx burners . Low noise rotary equipment were considered during the time of equipment selection.

Minimum Generation of waste:-

In-built measures had been adopted to minimize and control of pollution and generation of waste in all the units with proper collection and disposal system.

Adequate segregation and centralized treatment facilities:-

Adequate segregation, collection and treatment facilities for waste water for centralized treatment has been provided to meet the stringent standards laid down in MoEF notification, 2008.

Green Belt Development:-

An ambitious plan of green belt development around the refinery was drawn to serve as a barrier for pollutants and noise. A 100m wide green belt around the refinery and 25 m wide around the marketing terminal covering  60 He of land  had been developed. Massive plantation are being carried out every year in the Green Belt to increase the density of trees.

Unique Ground Flare System:-

To avoid any adverse impact of the flare on wild animals in the Kaziranga National Park, non-illuminating ground flare has been incorporated which is first of its kind in the country.

Sulfur Recovery Plant:-

In spite of processing low sulfur Assam crude (having only 0.26 % Sulfur),  a Sulfur Recovery Unit  (SRU) has been incorporated and installed to remove sulphur from sour water and sour gas generated during the refining process. Subsequently its capacity has been enhanced from 14.6 Tonnes Per Day to 19.3 Tonnes Per Day in the year 2010 commensurate with the Diesel Quality Upgradation Project.

High Stack Height & Strict Emissions Monitoring:-

To reduce the ground level concentration of pollutants, height of stacks at different plants in the refinery is kept at 60 meters. Further, the height of stack at Coke Calcination Unit is kept at 77 meters. Facilities for continuous monitoring of  SOx, NOx etc. have been provided for all the furnace stacks and low NOx burners have been used in all the furnaces.

Use of low sulfur fuel for the Refinery furnace:-

Only the sweet fuel gas, after removing sulfur in the Amine Treatment Unit, is used in the refinery furnaces.

Effluent Treatment Plant with latest technology:-

A centralized modern Effluent Treatment Plant having tertiary treatment facilities has been installed. Also, the ETP includes a three-stage oil recovery system from the wastewater and high efficiency centrifuge for recovering oil from the oily sludge. As a part of modernization of ETP  VOC recovery system has been implemented.

Solid Waste Management: -

After centrifuge of Oily sludge generated at different section of Effluent Treatment plant ,  in the highly efficient  Centrifuge,  the oil free cake from the centrifuge is kept in sealed drums which are then disposed off in the Secured Land Fill.  For the ease of operation,  the  Secured Land Fill has been divided into various cells separated by soil mounts.  The waste is disposed off at these cells and compacted. The compacted waste is then covered by 15 cm soil layer after every day’s operation  which minimizes the chance of fire hazard, water percolation and odour problem.

In the management of Hazardous Waste Treatment and Disposal Facilities,  NRL has taken up a lot of advance  & innovative initiatives. Cleaning of tank bottom oily sludge is being done by adopting BLABO process which is a close loop process and by which nearly 100% recovery of hydrocarbon can be achieved. Oily sludge, thus generated, is being disposed off through Bioremediation process in a more scientific and efficient manner.

Spent Catalyst  & Tank Boom Sludge :-

Spent catalysts are generally generated after a gap of  3/4  years when the catalyst is replaced in the various units of Refinery.  After generation, the spent catalyst is kept in demarcated place in sealed drums and then the same is sold to CPCB approved vendors  with due intimation to PCBA and following the stipulated guide lines.

Tank bottom sludge are generally generated after a gap of 10/15 years when the Tanks,  particularly Crude  Tanks are cleaned.

Implementation of Hydrogen Peroxide Treatment:-

In pursuance of latest development, H2O2 treatment process has been introduced for the chemical treatment of wastewater in the ETP by replacing the conventional Fecl3 process. Introduction of this technique has reduced the solid waste generation drastically.

Installation of oil traps in the Storm Water drains:-

Several  numbers of oil traps have been installed and hay filters are placed in the refinery storm water system as a preventive measure to eliminate any possibility of oil carry over to outside environment. A scheme for reusing entire storm water in fire water network and in Cooling Tower as a make is under implementation.

Reuse of Treated Effluent:-

Zero discharge of refinery treated effluent has been maintained since October, 2006 and township treated effluent since April, 2007. Treated effluent is totally reused internally after treatment as fire water make up. The effluent generated from sewerage treatment plant located at the township is also brought to the refinery through pipeline to its effluent treatment plant for further treatment and reuse.

Estimation of Carbon Foot Print: -

NRL commenced the activity for estimation of Green House Gas (GHG) Emission and carbon foot print of the refinery taking 2009-10 as base year. The study was carried out by engaging a reputed consultant.

CDM Projects:-

NRL installed a 12.0 MW Steam Turbine Generator (STG) to utilize and recover waste (thermal/pressure) energy of HP steam. This project has been registered as a CDM Project and NRL has earned Carbon Emission Reductions (CERs) from UNFCCC.

Fuel switch over:-

NRL has entered into a JV with Oil India Ltd (OIL) and Assam Gas Company Ltd (AGCL) to form Duliajan Numaligarh Pipe Line (DNPL) who laid 192 KM pipeline from Duliajan to Numaligarh to supply Natural Gas (NG) which is currently used at Captive Power Plant (CPP) and Hydrogen Unit of NRL in lieu of Naphtha. This has resulted in reduction of carbon emission.

PART – H

Additional measures/investment proposal for environmental protection including abatement of pollution, prevention of pollution:-

VOC Recovery System and modernization of  ETP:-

NRL  engaged M/s Nicco as a consultant to carry out a detailed study on the requirement VOC  recovery system including modernization study for ETP to incorporate latest technologies in the field of effluent treatment. Based on the study, M/s UEM, Noida has been engaged to execute the job on turnkey basis.  Installation of all parts , accessories, components have been completed on time and  VOC Recovery System has been commissioned and now working successfully.

NEW SECURED LAND FILL:-

As per CPCB recommendations & by following latest scientific design,  a new Secured Land Fill of higher capacity of around 6000 m3 has been constructed in the Refinery premises to cater the needs of future requirement for disposal of Chemical & Oil Sludge and now ready to use.

Bioremediation facility:-

A new bioremediation facility has been  constructed to facilitate bioremediation of tank bottom oily sludge (calorific value >2500kcal/kg) having a capacity of 600m3 in line with CPCB guidelines. Bioremediation of  500 MT Tank bottom sludge

has been done during year

Installation of double mechanical seals in IFRT (Internal Floating Roof Tanks) and EFRT (External Floating Roof Tanks) :-

In line with latest MoEF notification, 2008, relating to Oil Refinery Industry, installation of  double mechanical seals in IFRT and EFRT tanks is in progress and expected to be completed for all the Tanks during  2017-18

Transmission of online real time data:-

Transmission of online real time data for Sox and NOx, CO  and Ambient Air quality to  CPCB Server has been uploaded successfully and data are transmitted on continuous basis.

Installation of CAAQMS and PM &CO analyzers:

AS per recommendation of MoEF and CPCB - activities for installing one another Continuous Ambient Air Quality Monitoring Station (CAAQMS) and providing PM and CO analysers in all the stack is in under progress

PART – I

Any other particulars for improving the quality of the environment:-

As a part of continuous efforts towards reduction of emissions, Numaligarh Refinery produces ultra –low sulphur High Speed Diesel and motor spirit having less than 0.005% sulphur conforming to the Euro-IV Specifications. This contributes in reducing pollution from diesel and petrol vehicle due to the reduction in emission of Sulphur di-oxide in the atmosphere.

NRL has already implemented Diesel Quality Up-gradation Project which has enabled NRL to produce HSD meeting BS-III specification as well as to produce limited quantity of HSD meeting BS-IV specification. To cater to the future needs of high quality environment friendly fuel,  NRL is further exploring suitable technology for production of HSD conforming BS-IV specification along with limited quantity of Euro-V  HSD at 100% refinery throughput and as an advance step towards environment protection.

NRL has commissioned an Wax Plant for producing Micro Cristal Wax and Parafin Wax .  The Wax plant was dedicated to the Nation by Prime Mister Narendra Modi on 5th  Feb, 2016 .  NRL has planned to install  Diesel Hydrotreater (DHDT) Plant for producing Euro IV HSD.  NRL has planned to

Install one Bio refinery for which EIA Study &  Public hearing have already been completed.

As an advance step towards environment protection,  NRL also has planned to install LPG mounded Bullet which is more environment friendly and safe.

Initiative for solar power:

In its pursuit of tapping new and renewable energy sources , a slew of initiatives have been taken up to utilize solar energy in the refinery and in the township premises.NRL has replaced conventional street lights with solar powered lights in several places in its township. 100 KWH solar PV panel has installed on the rooftop of admin building. NRL  extending its solar power initiative for the  benefit of the nearby community,  solar panel has been installed in seven nearby schools. In its foray to renewable energy, NRL has taken initiative to install 50 KW Solar power plant on the roof  top of  Corporate Office Building in Guwahati. Further, NRL gone ahead with tendering for a mega 1.0 MW Solar Power project in NRL premise which is under process.

****************