|  | NUMALIGARH REFINERY LIMITED (Quality Control Department) |
| --- | --- |

ANALYSIS OF GROUND WATER AROUND SECURED LAND FILL

FOR THE MONTH OF SEPTEMBER’2015

DATE OF SAMPLING  : 21.09.2015

| Sl No. No | Parameters | Results of piezometric tubes |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | No. # 1 | No. # 2 | No. # 3 | No. # 4 |
| 1 | Odour | Nil | Nil | Nil | Nil |
| 2 | pH Value | 7.5 | 7.0 | 7.5 | 7.5 |
| 3 | Iron (as Fe), mg/lit | 0.61 | 0.52 | 0.51 | 0.51 |
| 4 | Chlorides (as Cl) mg/lit | 34.2 | 36.4 | 32.8 | 36.2 |
| 5 | Residual free chlorine, mg/lit | Nil | Nil | Nil | Nil |
| 6 | Copper (as Cu), mg/lit | 0.052 | 0.064 | 0.066 | 0.066 |
| 7 | Manganese (as Mn), mg/lit | Nil | Nil | Nil | Nil |
| 8 | Nitrate (as NO3), mg/lit | 0.42 | 0.44 | 0.40 | 0.40 |
| 9 | Fluoride (as F), mg/lit | 0.22 | 0.20 | 0.20 | 0.20 |
| 10 | Cadmium (as Cd), mg/lit | Nil | Nil | Nil | Nil |
| 11 | Arsenic (as As). mg/lit | Nil | Nil | Nil | Nil |
| 12 | Cyanide (as CN), mg/lit | Nil | Nil | Nil | Nil |
| 13 | Lead (as Pb), mg/lit | 0.018 | 0.016 | 0.014 | 0.022 |
| 14 | Zinc (as Zn), mg/lit | 0.24 | 0.26 | 0.21 | 0.21 |
| 15 | Chromium(asCr)mg/lit | Nil | Nil | Nil | Nil |

|  | NUMALIGARH REFINERY LIMITED (Quality Control Department) |
| --- | --- |

ANALYSIS OF GROUND WATER AROUND SECURED LAND FILL

FOR THE MONTH OF OCTOBER’2015

DATE OF SAMPLING  : 21.10.2015

| Sl No. No | Parameters | Results of piezometric tubes |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | No. # 1 | No. # 2 | No. # 3 | No. # 4 |
| 1 | Odour | Nil | Nil | Nil | Nil |
| 2 | pH Value | 7.5 | 7.0 | 7.0 | 7.0 |
| 3 | Iron (as Fe), mg/lit | 0.64 | 0.58 | 0.54 | 0.56 |
| 4 | Chlorides (as Cl) mg/lit | 34.8 | 34.6 | 34.6 | 36.8 |
| 5 | Residual free chlorine, mg/lit | Nil | Nil | Nil | Nil |
| 6 | Copper (as Cu), mg/lit | 0.056 | 0.061 | 0.067 | 0.063 |
| 7 | Manganese (as Mn), mg/lit | Nil | Nil | Nil | Nil |
| 8 | Nitrate (as NO3), mg/lit | 0.44 | 0.46 | 0.42 | 0.44 |
| 9 | Fluoride (as F), mg/lit | 0.24 | 0.22 | 0.19 | 0.18 |
| 10 | Cadmium (as Cd), mg/lit | Nil | Nil | Nil | Nil |
| 11 | Arsenic (as As). mg/lit | Nil | Nil | Nil | Nil |
| 12 | Cyanide (as CN), mg/lit | Nil | Nil | Nil | Nil |
| 13 | Lead (as Pb), mg/lit | 0.016 | 0.018 | 0.018 | 0.020 |
| 14 | Zinc (as Zn), mg/lit | 0.28 | 0.22 | 0.26 | 0.27 |
| 15 | Chromium(asCr)mg/lit | Nil | Nil | Nil | Nil |

|  | NUMALIGARH REFINERY LIMITED (Quality Control Department) |
| --- | --- |

ANALYSIS OF GROUND WATER AROUND SECURED LAND FILL

FOR THE MONTH OF NOVEMBER’2015

DATE OF SAMPLING  : 23.11.2015

| Sl No. No | Parameters | Results of piezometric tubes |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | No. # 1 | No. # 2 | No. # 3 | No. # 4 |
| 1 | Odour | Nil | Nil | Nil | Nil |
| 2 | pH Value | 7.0 | 7.0 | 7.5 | 7.5 |
| 3 | Iron (as Fe), mg/lit | 0.44 | 0.52 | 0.56 | 0.54 |
| 4 | Chlorides (as Cl) mg/lit | 36.2 | 36.2 | 32.8 | 38.2 |
| 5 | Residual free chlorine, mg/lit | Nil | Nil | Nil | Nil |
| 6 | Copper (as Cu), mg/lit | 0.046 | 0.058 | 0.068 | 0.058 |
| 7 | Manganese (as Mn), mg/lit | Nil | Nil | Nil | Nil |
| 8 | Nitrate (as NO3), mg/lit | 0.48 | 0.42 | 0.48 | 0.48 |
| 9 | Fluoride (as F), mg/lit | 0.22 | 0.20 | 0.22 | 0.21 |
| 10 | Cadmium (as Cd), mg/lit | Nil | Nil | Nil | Nil |
| 11 | Arsenic (as As). mg/lit | Nil | Nil | Nil | Nil |
| 12 | Cyanide (as CN), mg/lit | Nil | Nil | Nil | Nil |
| 13 | Lead (as Pb ), mg/lit | 0.012 | 0.016 | 0.014 | 0.018 |
| 14 | Zinc (as Zn), mg/lit | 0.32 | 0.28 | 0.27 | 0.29 |
| 15 | Chromium(as Cr)mg/lit | Nil | Nil | Nil | Nil |

|  | NUMALIGARH REFNIERY LIMITED (Quality Control Department) |
| --- | --- |

ANALYSIS OF GROUND WATER AROUND SECURED LAND FILL

FOR THE MONTH OF JAN , 2016

DATE OF SAMPLING  : 18.02.2016

| SL No | Substance or Characteristic | Analysis data of ground water around SLF generated before commissioning of SLF(max) | Results of piezometric tubes |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | No. # 1 | No. # 2 | No. # 3 | No. # 4 |
| 1 | Odour | Nil | Nil | Nil | Nil | Nil |
| 2 | pH Value | 7.6 | 8.0 | 8.0 | 8.5 | 8.0 |
| 3 | Iron (as Fe), mg/lit (Max.) | 1. 5 | 0.21 | 0.20 | 0.21 | 0.23 |
| 4. | Chlorides (as Cl) mg/lit (Max.) | 28 | 26.0 | 29.0 | 27.6 | 25.8 |
| 5. | Residual free chlorine, mg/lit (Min.) | Nil | Nil | Nil | Nil | Nil |
| 6. | Copper (as Cu), mg/lit (Max.) | 0.04 | 0.020 | 0.021 | 0.020 | 0.029 |
| 7. | Manganese (as Mn), mg/lit (Max.) | 0.03 | Nil | Nil | Nil | Nil |
| 8 | Nitrate (as NO3), mg/lit (Max.) | 0.4 | 0.26 | 0.26 | 0.20 | 0.26 |
| 9. | Fluoride (as F), mg/lit (Max.) | 0.3 | 0.16 | 0.20 | 0.22 | 0.28 |
| 10. | Cadmium (as Cd), mg/lit (Max.) | Nil | Nil | Nil | Nil | Nil |
| 11. | Arsenic (as As). mg/lit (Max.) | Nil | Nil | Nil | Nil | Nil |
| 12. | Cyanide (as CN), mg/lit (Max.) | Nil | Nil | Nil | Nil | Nil |
| 13. | Lead (as Pb), mg/lit (Max.) | 0.05 | 0.021 | 0.029 | 0.030 | 0.024 |
| 14. | Zinc (as Zn), mg/lit (Max.) | 0.2 | 0.14 | 0.21 | 0.19 | 0.22 |
| 15. | Chromium(asCr) Mg/lit (Max) | Nil | Nil | Nil | Nil | Nil |

|  | NUMALIGARH REFNIERY LIMITED (Quality Control Department) |
| --- | --- |

ANALYSIS OF GROUND WATER AROUND SECURED LAND FILL

FOR THE MONTH OF FEBRUARY, 2016

DATE OF SAMPLING  : 16.02.2016

| SL No | Substance or Characteristic | Results of piezometric tubes |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | No. # 1 | No. # 2 | No. # 3 | No. # 4 |
| 1 | Odour | Nil | Nil | Nil | Nil |
| 2 | pH Value | 8.0 | 7.5 | 8.0 | 8.0 |
| 3 | Iron (as Fe), mg/lit (Max.) | 0.26 | 0.18 | 0.24 | 0.22 |
| 4. | Chlorides (as Cl) mg/lit (Max.) | 26.0 | 24.5 | 22.6 | 19.0 |
| 5. | Residual free chlorine, mg/lit (Min.) | Nil | Nil | Nil | Nil |
| 6. | Copper (as Cu), mg/lit (Max.) | 0.022 | 0.023 | 0.020 | 0.018 |
| 7. | Manganese (as Mn), mg/lit (Max.) | Nil | Nil | Nil | Nil |
| 8 | Nitrate (as NO3), mg/lit (Max.) | 0.24 | 0.26 | 0.22 | 0.20 |
| 9. | Fluoride (as F), mg/lit (Max.) | 0.24 | 0.22 | 0.20 | 0.24 |
| 10. | Cadmium (as Cd), mg/lit (Max.) | Nil | Nil | Nil | Nil |
| 11. | Arsenic (as As). mg/lit (Max.) | Nil | Nil | Nil | Nil |
| 12. | Cyanide (as CN), mg/lit (Max.) | Nil | Nil | Nil | Nil |
| 13. | Lead (as Pb), mg/lit (Max.) | 0.022 | 0.024 | 0.020 | 0.028 |
| 14. | Zinc (as Zn), mg/lit (Max.) | 0.14 | 0.16 | 0.12 | 0.18 |
| 15. | Chromium(asCr) Mg/lit (Max) | Nil | Nil | Nil | Nil |

|  | NUMALIGARH REFNIERY LIMITED (Quality Control Department) |
| --- | --- |

ANALYSIS OF GROUND WATER AROUND SECURED LAND FILL

FOR THE MONTH OF MARCH , 2016

DATE OF SAMPLING  : 14.03.2016

| SL No | Substance or Characteristic | Analysis data of ground water around SLF generated before commissioning of SLF(max) | Results of piezometric tubes |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | No. # 1 | No. # 2 | No. # 3 | No. # 4 |
| 1 | Odour | Nil | Nil | Nil | Nil | Nil |
| 2 | pH Value | 7.6 | 8.0 | 8.5 | 8.5 | 8.0 |
| 3 | Iron (as Fe), mg/lit (Max.) | 1. 5 | 0.35 | 0.31 | 0.27 | 0.21 |
| 4. | Chlorides (as Cl) mg/lit (Max.) | 28 | 27.5 | 28.0 | 24.5 | 26.0 |
| 5. | Residual free chlorine, mg/lit (Min.) | Nil | Nil | Nil | Nil | Nil |
| 6. | Copper (as Cu), mg/lit (Max.) | 0.04 | 0.030 | 0.028 | 0.026 | 0.024 |
| 7. | Manganese (as Mn), mg/lit (Max.) | 0.03 | Nil | Nil | Nil | Nil |
| 8 | Nitrate (as NO3), mg/lit (Max.) | 0.4 | 0.26 | 0.22 | 0.24 | 0.30 |
| 9. | Fluoride (as F), mg/lit (Max.) | 0.3 | 0.24 | 0.19 | 0.21 | 0.26 |
| 10. | Cadmium (as Cd), mg/lit (Max.) | Nil | Nil | Nil | Nil | Nil |
| 11. | Arsenic (as As). mg/lit (Max.) | Nil | Nil | Nil | Nil | Nil |
| 12. | Cyanide (as CN), mg/lit (Max.) | Nil | Nil | Nil | Nil | Nil |
| 13. | Lead (as Pb), mg/lit (Max.) | 0.05 | 0.027 | 0.025 | 0.022 | 0.024 |
| 14. | Zinc (as Zn), mg/lit (Max.) | 0.2 | 0.17 | 0.19 | 0.17 | 0.15 |
| 15. | Chromium(asCr) Mg/lit (Max) | Nil | Nil | Nil | Nil | Nil |