## ENVIRONMENTAL TABLE 1
QUARTERLY PERFORMANCE WITH RESPECT TO ENVIRONMENTAL ASPECTS
DURING THE QUARTER-II (July-Sept ,17)2017-18
Liquid Effluent
1.1 ) Quantity
|  |  |  | JULY'17 | AUGUST'17 | SEPT'17 | Cummulative | Cumm. for the year
[7 empty] | QI, 2017-18 | 2017-18
Quantity of Effluent Discharged, M3 |  |  |  | 0 | 0 | 0 | 0 | 0
Effluent Discharged, M3/1000 MT of Crude Processed |  |  |  | 0 | 0 | 0 | 0 | 0
Liquid Effluent
1.2 ) Quality
ANNEXURE- I
TABLE-B
1. LIQUID EFFLUENT POLLUTANT LEVEL DURING QR. II ( JULYL-SEPT'17) 2017-18
MONITORED VALUES in mg/lit.except pH
SL. NO | PARAMETERS | NO. OF OBS | MAX. | MIN. | AVG. | Limiting value for conc. (mg/l except for pH) | Quantum limit in Kg / 1000 MT of crude processed
[7 empty] | Actual | Standard
1 | pH | 92 | 8.5 | 6 | 6.93 | 6-8.5 | - | -
2 | OIL & GREASE | 92 | 5 | 1.8 | 3.1 | 5 | 0.94 | 2
3 | SULPHIDE | 92 | <0.1 | <0.1 | <0.1 | 0.5 | 0.03 | 0.2
4 | PHENOL | 92 | 0.3 | 0.12 | 0.14667 | 0.35 | 0.04 | 0.14
5 | S. SOLID | 92 | 20 | 9.2 | 13.4 | 20 | 4.04 | 8
6 | COD | 92 | 125 | 19 | 72.4667 | 125 | 21.9 | 50
7 | BOD3 | 92 | 14 | 3 | 10.4567 | 15 | 3.15 | 6
8 | CN | 92 | <0.02 | <0.02 | <0.02 | 0.2 | 0.01 | 0.08
9 | Ammonia as N | 3 | 3.01 |  | 2.82 | 15 | 0.85 | 6
10 | Cr (Hexavalent) | 3 | 0 |  | 0 | 0.1 | 0 | 0.04
11 | Cr (Total) | 3 | 0 |  | 0 | 2 | 0 | 0.8
12 | Pb | 3 | 0.01 |  | 0.0066667 | 0.1 | 0.002 | 0.04
13 | Zn | 3 | 0.09 |  | 0.08 | 5 | 0.02 | 2
14 | Ni | 3 | 0.051 |  | 0.013333 | 1 | 0 | 0.4
15 | Cu | 3 | 0.02 |  | 0.0066667 | 1 | 0.002 | 0.4
16 | Benzene | 3 | 0.09 |  | 0.08 | 0.1 | 0.024 | 0.04
17 | Benzo (a)- Pyrene | 3 | 0.054 |  | 0.052667 | 0.2 | 0.0159 | 0.08
18 | Hg | 3 | 0.006 |  | 0.0053333 | 0.01 | 0 | 0.004
19 | V | 3 | 0.008 |  | 0.0076667 | 0.2 | 0 | 0.8
20 | TKN | 3 | 14.6 |  | 12.8667 | 40 | 3.88 | 16
21 | P | 3 | 1.92 |  | 1.84 | 3 | 0.56 | 1.2
Limiting concentration of effluent is as per MoEF notification on standard vide GSR-186 (E)dated 18th March, 2008.
* BDL- Detectable Limit : 0.1 microgram/Litre
* Parameters from 9 to 21 are monitored once in a month as per CPCB norms

## ENVIRONMENTAL TABLE 2
NUMALIGARH REFINERY LIMITED
QUARTERLY PERFORMANCE WITH RESPECT TO ENVIRONMENTAL ASPECTS
DURING QUARTER II (JULY-SEPT' 17), 2017-18
Ambient Air Quality Data
STATION | PARAMETER | STD | Unit | OBSERVATIONS
|  | NAAQS-2009 |  | MAX | MIN | AVG
REFINERY (WATCH TOWER NO. 6) | SO2 | 80 (24 hr avg.) | μg/m3 | 7.6 | 4.4 | 5.43
| NO2 | 80 (24 hr avg.) | μg/m3 | 30.2 | 17.8 | 25.9233
| O3 | 100 (8 hr avg.) | μg/m3 | 32.4 | 10 | 15.6433
| CO | 2000 (8 hr.avg.) | μg/m3 | 970 | 330 | 576.6667
| NH3 | 400 (24 hr.avg.) | μg/m3 | 21.3 | 10 | 14.3333
| PM 10 | 100 (24 hr.avg.) | μg/m3 | 82 | 38 | 58
| PM 2.5 | 60 (24 hr.avg.) | μg/m3 | 42 | 21 | 30
| Benzene | 5.0 (Annual) | μg/m3 | 2.87 | 2.08 | 2.1833
| BaP | 1.0 (Annual) | ng/m3 | 0.89 | 0.4 | 0.32333
| Pb | 1.0 (24 hr.avg.) | μg/m3 | 0.3 | 0.02 | 0.013333
| As | 6.0 (Annual) | ng/m3 | 1 | 1 | 1
| Ni | 20 (Annual) | ng/m3 | 7.65 | 4 | 4.8533
ECO-PARK IN NRL TOWNSHIP | SO2 | 80 (24 hr avg.) | μg/m3 | 5.7 | 4.2 | 4.9967
| NO2 | 80 (24 hr avg.) | μg/m3 | 32.2 | 16.6 | 24.0333
| O3 | 100 (8 hr avg.) | μg/m3 | 27.4 | 10 | 14.5333
| CO | 2000 | μg/m3 | 540 | 320 | 466.6667
| NH3 | 400 (24 hr.avg.) | μg/m3 | 18.7 | 10 | 12.9533
| PM 10 | 100 (24 hr.avg.) | μg/m3 | 69 | 36 | 56
| PM 2.5 | 60 (24 hr.avg.) | μg/m3 | 39 | 15 | 27.3333
| Benzene | 5.0 (Annual) | μg/m3 | 2.08 | 2.08 | 2.08
| BaP | 1.0 (Annual) | ng/m3 | 0.4 | 0.4 | 0.4
| Pb | 1.0 (24 hr.avg.) | μg/m3 | 0.02 | 0.02 | 0.02
| As | 6.0 (Annual) | ng/m3 | 1 | 1 | 1
| Ni | 20 (Annual) | ng/m3 | 6.32 | 4 | 4.2733
RAW WATER INTAKE | SO2 | 80 (24 hr avg.) | μg/m3 | 6.8 | 4 | 4.76
| NO2 | 80 (24 hr avg.) | μg/m3 | 28.1 | 12.6 | 22.6
| O3 | 100 (8 hr avg.) | μg/m3 | 24.5 | 10 | 11.8333
| CO | 2000 (8 hr.avg.) | μg/m3 | 630 | 230 | 433.3333
| NH3 | 400 (24 hr.avg.) | μg/m3 | 19.4 | 10 | 10.83
| PM 10 | 100 (24 hr.avg.) | μg/m3 | 63 | 32 | 46.3333
| PM 2.5 | 60 (24 hr.avg.) | μg/m3 | 33 | 14 | 23
| Benzene | 5.0 (Annual) | μg/m3 | 2.08 | 2.08 | 2.08
| BaP | 1.0 (Annual) | ng/m3 | 0.4 | 0.4 | 0.4
| Pb | 1.0 (24 hr.avg.) | μg/m3 | 0.02 | 0.02 | 0.02
| As | 6.0 (Annual) | ng/m3 | 1 | 1 | 1
| Ni | 20 (Annual) | ng/m3 | 4.56 | 4 | 4.0333
NH-39 BYPASS | SO2 | 80 (24 hr avg.) | μg/m3 | 7.6 | 4.1 | 4.9633
| NO2 | 80 (24 hr avg.) | μg/m3 | 31.2 | 16.5 | 24.2
| O3 | 100 (8 hr avg.) | μg/m3 | 21.2 | 10 | 13.0333
| CO | 2000 (8 hr.avg.) | μg/m3 | 710 | 350 | 470
| NH3 | 400 (24 hr.avg.) | μg/m3 | 19 | 10 | 13.3333
| PM 10 | 100 (24 hr.avg.) | μg/m3 | 69 | 44 | 56
| PM 2.5 | 60 (24 hr.avg.) | μg/m3 | 40 | 19 | 29
| Benzene | 5.0 (Annual) | μg/m3 | 2.08 | 2.08 | 2.08
| BaP | 1 | ng/m3 | 0.4 | 0.4 | 0.4
| Pb | 1.0 (24 hr.avg.) | μg/m3 | 0.02 | 0.02 | 0.02
| As | 6 | ng/m3 | 1.4 | 1 | 1.0167
| Ni | 20 (Annual) | ng/m3 | 6.75 | 4 | 4.1833
KAZIRANGA WILDLIFE SANCTUARY AT AGARTOLI | SO2 | 80 (24 hr avg.) | μg/m3 | 5.5 | 4 | 4.39
| NO2 | 80 (24 hr avg.) | μg/m3 | 30.4 | 10.6 | 18.8167
| O3 | 100 (8 hr avg.) | μg/m3 | 10 | 10 | 10
| CO | 2000 (8 hr.avg.) | μg/m3 | 570 | 180 | 306.6667
| NH3 | 400 (24 hr.avg.) | μg/m3 | 10 | 10 | 11.28
| PM 10 | 100 (24 hr.avg.) | μg/m3 | 57 | 23 | 40.3333
| PM 2.5 | 60 (24 hr.avg.) | μg/m3 | 29 | 12 | 19.3333
| Benzene | 5.0 (Annual) | μg/m3 | 2.08 | 2.08 | 2.08
| BaP | 1 | ng/m3 | 0.4 | 0.4 | 0.4
| Pb | 1.0 (24 hr.avg.) | μg/m3 | 0.02 | 0.02 | 0.02
| As | 6 | ng/m3 | 1 | 1 | 1
| Ni | 20 (Annual) | ng/m3 | 4 | 4 | 4
BDL:Below Detection Level, All the parameters are found to be within limt

## ENVIRONMENTSL III
QUARTERLY PERFORMANCE REPORT W.R.T ENVIRONMENTAL ASPECT.
DURING QUARTER II (JULY-SEPT'17),2017-18
Online Stack Analyser data
UNIT | FURNACE STACK | PARAMETER | OBSERVED VALUE |  | Limiting Concentration in mg/Nm3 | Remarks Limit conc. calculated using fuel type& quan. used during the period
CONC. (In mg/Nm3)
|  |  | MAX. | MIN.
CDU/VDU | FF-01/02 | SO2 | 280.17 | 66.54 | 510 | Stack with dual firing (FG:FO=72:28)
|  | NOX | 288.65 | 15.4 | 378
|  | CO (FF1) | 8.5 | 0.25 | 164
|  | CO (FF2) | 8.5 | 0.38
DCU | FF-01 | SO2 | 167.65 | 14.57 | 419 | Stack with dual firing (FG:FO=78:22)
|  | NOX | 182.92 | 33.67 | 372
HCU | FF-01/02 | SO2 | 48.5 | 2 | 50 | Stack with Gas firing
|  | NOX | 169.78 | 3.08 | 350
HCU | FF-03 | SO2 | 140.2 | 2 | 170 | Stack with dual firing (FG:FO=93:7)
|  | NOX | 47.4 | 7.19 | 357
H2U | FF-01 | SO2 | 46.8 | 18.59 | 50 | Stack with Gas firing
|  | NOX | 40.6 | 7.8 | 350
MS | FF-01 | SO2 | 23.99 | 7.86 | 50 | Stack with Gas firing
|  | NOX | 24 | 11.03 | 350
CPP HRSG |  | SO2 | 37.41 | 13.14 | 50 | Stack with Gas firing
|  | NOX | 27.3 | 9 | 350
CPP UTILITY BOILER |  | SO2 | 35.7 | 17.1 | 50 | Stack with Gas firing
|  | NOX | 166.5 | 98.34 | 350
* Limiting concentration of emission calculated as per MOEF new notification on standard vide GSR- 186 (E) dated 18th March, 2008. Emission level for all the stacks are found to be within limit